Institute of Physics

Sachivalaya Marg

Bhubaneswar 751005

Equipments for Biology Laboratory of NISER

Analytical instruments

- UV-VIS-NIR Spectrophotometer (190-1800 nm, with multiple sample positioning, Peltier cooled cell block, research grade with scanning facility, with cuvettes both quartz and glass, PC based with compatible software)

- UV-VIS Spectrophotometer (190-900 nm, with glass and quartz cuvettes, PC based, with multiple sample position,  preferably with peltier cooled cell block)

- Colorimeter (400-700 nm), with filters with sample cuvettes, (1- 3 ml),

- Spectrofluorimeter,

- Elisa Reader ,

- Liquid Scintillation counter,

- Refractometer

Centrifuges

- High speed Centrifuge (20 000 g or above, microprocessor based refrigerated table top and floor model with various rotors and accessories) .

- Ultra Centrifuge with Rotors,

- Microcentrifuge (with rotors for 1.5 ml and 2.0 ml tubes, both cooling and non-cooling, 12000g  and above with timer and safety interlock system)

- Mini centrifuge around (6000  with rotors for  1.5 ml, 2.0 ml, 04. ml and 0.5ml tubes

- Laboratory  non-cooling centrifuge (with  appropriate rotors and accessories)

(All centrifuges to be quoted with appropriate rotors and optional accessories separately)

Microscopes & Accessories

- Light Microscope (Student type, 4x,10x, 40x and 100x (oil), binocular and trinocular with digital camera option and other accessories, camera to be quoted separately)

- Stereo Zoom Dissection Microscope (min zoom ratio of 5, binocular and trinocular options with optional camera, transmission light illumination base, phase and filter options )

- Inverted Microscope (binocular and trinocular options with accessories)

- Research Fluorescence Microscope (Bright field, Dark field, Phase, options for DIC, fluorescence with G, B and UV filters, binocular, and trinocular option,  digital/CCD camera (low noise) with real time imaging option, capture rate of more than 10 fps, PC interface and software). Various models with optional items may be quoted separately.

- Clinical Microscope (Bright field, Dark Field and Phase contrast with accessories)

- Haemocytometer

- Micrometer

(Microscopes should be quoted with individual price for binocular, trinocular option. Digital camera/CCD attachments are to be quoted separately with PC interface with complete specifications.)

Incubators

- CO2 Incubator microprocessor based (capacity:150 lt or more, air or water jacketed with gas backup system and optional accessories with alarm system),

- Shaker incubator  microprocessor based (Bench type model,  both ambient to 50 0C  and  refrigerated  with good temp control, combo platform for 50-500 ml  conical flask + tube adapter, 10-300 rpm, preferably programmable with optional accessories),

- 37o Air incubator (with temp control),

- Water Bath ( circulation type  with temp control up to 90oC , capacity 10 lt or higher),

- Dry bath (temperature controlled, multiple cuvettes),

- Shaking Water bath (microprocessor based temperature and shaker control along with accessories,  around 20  lt capacity)

(Systems are to be quoted with optional accessories separately),

Tissue Culture

- Laminar flow work station (vertical flow for bioscience applications, working area of

- 900 x 600 x 600 or similar, with accessories),

- Liquid nitrogen storage tank ( around 7.5 lt capacity with sample storage facilities)

- 3. Pipette fixed and adjustable volume of different range (0.5-10,2-20,10-100, 20-200 and 100-1000 u lit)  autoclavable   with stands.

- Liquid nitrogen carrier,  around 3 to 5 lt capacity.

- Multichannel  adjustable volume  autoclaveable pipettes (10 –100 ul),

- Suction  pump (100ml – 500ml, oil free),

- Spirit lamp,

- Gas burner.

Histological equipments

- Microtome  (Rocking type) with accessories , knifes, and sharpener

- Tissue processor and automatic staining equipment,

- Cryo microtom Floor model –20 0C

Other Equipments

- PH Meter (0-14 pH, resoln 0.01 and 0.001),

- Vortex Mixer,

- Magnetic Stirrer (100-1400 rpm, 5lt and 10 lit),

- Dounce Homogenizer, (motor driven, with speed control, along with accessories)

- Stirrer

- Oven  (SS, uo to 250oC, accuracy 0.5oC, T)

- Ice flaker, with  more than 5kg/hr, capacity 100-300 lt

- Refrigerators  (300 Ltr Double door),

- 9. –20 0C Freezer   more than 120 litre capacity

- – 40 0C Freezer  more than 120 litre capacity

- –80 0C Freezer model more than 120 litre capacity.

- Portable cold room/chamber,

- Balances (10 gm, 500 gm, front loading),

- Sonicator,( around 500 Watts, 20 kHz, probes for 250 mic lt to 250 ml with optional temperature control Probe, sound proof box and other accessories)

- Autoclave (medium size, fully automatic, double body, 15-22 psi, automatic air purging, digital temp control with good accuracy,)

- Fraction collector with columns

Electrophoresis Systems

- Complete Electrophoresis  Apparatus with all accessories and power packs 
( Horizontal, Vertical and submarine models )

- Vacuum evaporator

- Gel documentation system with accessories.

- Blotting apparatus with all accessories, both wet and dry model

- Binoculars Camera (For field work)

- PCR Machine,

- Ultra pure water system for molecular biology and other high precision chemical analysis work

- Double distilled water plant (automated, glass and quartz, 1-5 lit /hr),

Sterile Plastic Tissue Culture Plates ( 96 Wells,24 Wells, 8 Wells),

Pipette tips (Different Sizes corresponding to pipettes as above),

Disposable Gloves,

Test Tube Racks

Glass and Plastic Wares

| Sl. No. | Item |  |  | Qnty. Reqd. |
| --- | --- | --- | --- | --- |
| 1 | Pipettes | Plastic & Glass |  | 1,2,5,10 and 25ml |
| 2 | Beakers | Plastic & Glass |  | 50,100,250,500, and 1000 ml |
| 3 | Conical Flasks | Plastic & Glass |  | 25,50,100,250, 500 and 1000ml |
| 4 | Measuring Cylinders | Plastic & Glass |  | 50,100,250 and 500ml |
| 5 | Volumetric | Flask Glass |  | 50,100, and 250 ml |
| 6 | Test Tubes | Plastic & Glass |  | 5 and 10 ml |
| 7 | Petri Plates | Different Sizes |  |  |
| 8 | Microtiter Plates | Round Bottom |  | 96 Wells,24 Wells and 8 Wells |
| 9 | Microtiter Plates | Flat Bottom |  | 96 Wells,24 Wells, 8 Wells and 4 Wells |
| 10 | Staining Dish |  |  |  |
| 11 | Coupling Jars |  |  |  |
| 12 | Glass Capillaries |  |  |  |
| 13 | Glass Slides |  |  |  |
| 14 | Cover Slips |  |  |  |
| 15 | Reagent Bottles |  |  | 100,250 and500ml |
| 16 | Scissors |  |  |  |
| 17 | Forceps |  |  |  |
| 18 | Needles |  |  |  |
| 19 | Dissection Boxes |  |  |  |
| 20 | Camel Hair Brushes |  |  |  |
| 21 | Razors |  |  |  |
| 22 | Pipette Cones |  |  |  |
| 23 | Syringes | (Tabrealin) |  | 10, 5, 2 and 1ml |
|  | Hypodermic needles | (Different Gauges) |  |  |