Institute of Physics

Sachivalaya Marg

Bhubaneswar 751005

List of Equipments for Chemistry Laboratory of NISER

- Analytical balances - Single pan  -  (100g - 0.1 mg, 500g - 1mg)

- Colorimeter/Visible Spectrophotometer  - (~400nm - 800nm, class room type)

- UV-Visible Spectrophotometer - 200 - 900 nm (Scanning facility with temperature controlled cell block, class room type)

- UV-visible - NIR Spectrophotometer  (200nm - 1800nm, with scanning facility and thermostable cell block, research type)

- Constant temperature bath  (10o  -  100oC, with digital display of temperature, 15-20 lt. , ±0.05oC or  ±0.1oC precision with liquid circulation facility, for research)

- Digital electronic stop watch

- Stop clock (with display of time in minutes and hour)

- Constant temperature bath (ambient to 100C) with liquid circulation facility (class room type, 15-20 lt capacity)

- Hot plate with magnetic stirrer (with Teflon coated stirring bead)

- Magnetic stirrer (with Teflon coated stirring bead)

- Melting point  apparatus

- Hot air oven  (with digital display of temperature)

- pH/Ion Meter (Specs: Precision +/- 0.01 PH with (both conventional & microprocessor based_ - indigenous )

- PH/ION Meter  Orion/Radio Meter PH Meter  (Specs: Precision +/- 0.002PH  / +/- 0.005 units (Imported))

- Voltage Stabilizer - Servo Controlled (2 K watt, 5 K watt)

- Heating mantle - 1 litre,500ml, 250ml

- UV Chamber – TLC

- Water Distillation assembly 20L/h Double distillation  - All Borosil or Pyrex glass  (Capacity ~ 10 liters/hr of doubly distilled water.

- Safety Glasses

- Water Bath : Cu. make with six holes

- Single type Cu. make with rings.

- Fume Hood

- Vacuum  Pump (oil free)

- Ice make refrigerator

- A stopped flow spectrophotometer with rapid scan and temperature jump attachment

- Magnetic Balance: Faraday

- Infra red Spectrophotometer