Institute of Physics

Sachivalaya Marg

Bhubaneswar 751005

| List of Glassware's and related items |  |  |  |  |
| --- | --- | --- | --- | --- |
| (All the glass items required is of Borosil make) |  |  |  |  |
| 1 | Item | Capacity | Specification | Req. qnty. |
|  | Burettes | 25 ml | A & B Class | 20 |
|  |  | 50 ml | A & B Class | 20 |
|  |  | 10 ml | A Class | 20 |
|  |  | 5 ml | A Class | 20 |
|  |  | 2 ml | A Class | 20 |
| 2 | Burette Stands |  |  | 2 |
|  | (a) With two way clamp |  | Tarson (Plastic) | 10 |
|  | (b) Burette Stands |  | wooden with side ams & holes to keep burettes and pipettes | 15 |
| 3 | Buchner funnels | 5 cm diam | China Clay | 20 |
|  |  | 10 cm diam |  | 20 |
|  |  | 15 cm diam |  | 20 |
| 4 | A - Glass funnel | 5 cm diam | Short stem, with and without | 20 |
|  |  | 10 cm diam | fitted porous disc sintered glass | 20 |
|  |  | 15 cm diam |  | 20 |
|  | B- Glass Funnel | 5 cm diam | Long stem, narrow and wide bore | 20 |
|  |  | 10 cm diam |  | 20 |
|  |  | 15 cm diam |  | 20 |
| 5 | Sintered Glass Funnel | 100 ml | G2, G1, G3, G4 | 20 |
|  | With short stem | 50 ml | G2, G1, G3, G4 | 20 |
|  |  | 25 ml | G2, G1, G3, G4 | 20 |
| 6 | Beakers (glass) | 10 ml | With spout and appropriate | 20 |
|  |  | 25 ml | cover glass | 20 |
|  |  | 50 ml |  | 20 |
|  |  | 100 ml |  | 20 |
|  |  | 250 ml |  | 20 |
|  |  | 500 ml |  | 10 |
|  |  | 1000 ml |  | 5 |
| 7 | Watch Glass | 6 cm diam | For spot and qualitative tests | 30 |
|  |  | 10 cm diam |  | 30 |
|  |  | 20 cm diam |  | 20 |
| 8 | Cavity Plates | 6 holes |  |  |
|  |  |  |  | 20 |
| 9 | Conical flasks | 10 ml |  | 10 |
|  |  | 25 ml |  | 20 |
|  |  | 100 ml |  | 20 |
|  |  | 50 ml |  | 20 |
|  |  | 250 ml |  | 20 |
|  |  | 500 ml |  | 10 |
|  |  | 1000 ml |  | 10 |
| 10 | Filter flasks or sucktion flask | 50 ml | Conical flask with and without | 10 |
|  |  | 100 ml | standard joints and with side for | 20 |
|  |  | 250 ml | connecting to pump | 20 |
|  |  | 500 ml |  | 10 |
| 11 | Filter flask with funnel | 100 ml | Complete set with standard joints | 5 |
|  |  | 250 ml |  | 5 |
|  |  | 500 ml |  | 5 |
| 12 | Condenser (Air) | 6-8 cm length |  | 20 |
|  |  | 20-25 cm length |  | 20 |
|  |  | 40 cm length |  | 20 |
| 13 | Condenser (Water) | 6-8 cm length |  | 20 |
|  |  | 20-25 cm length |  | 20 |
|  |  | 40 cm length |  | 20 |
| 14 | Bark Corks | Suitable for conical flasks and condensers | Appropriate Sizes | 1 Box |
| 15 | Rubber Corks | Suitable for conical flasks and condensers |  | 1 Box |
| 16 | Cork Borer |  |  | 10 |
| 17 | Blow Pipe |  |  | 15 |
| 18 | Platinum Wire |  | 1 inch, cut to size and fixed on glass rod | 20 |
| 19 | Nichrome Wire |  | 1 inch, cut to size and fixed on glass rod | 20 |
| 20 | Wash Bottle |  |  |  |
|  |  | 250 ml | Plastic (White) | 20 |
|  |  | 500 ml | Plastic (White) | 20 |
|  |  |  | All fitted with delivery tube |  |
| 21 | Pro-pipette |  | For pipetting a dispensing solutions | 50 |
| 22 | Pipettes | 1 ml | A and B class, preferably with bulb for | 5 |
|  |  | 2 ml | 10, 20, 25 and 50 ml at the top | 10 |
|  |  | 5 ml |  | 10 |
|  |  | 10 ml |  | 10 |
|  |  | 20 ml |  | 10 |
|  |  | 25 ml |  | 20 |
|  |  | 50 ml |  | 5 |
| 23 | Pipette | 1 ml | Graduated A Class & B Class | 10 |
|  | graduated | 2 ml |  | 10 |
|  |  | 5 ml |  | 10 |
|  |  | 10 ml |  | 10 |
|  |  | 20 ml |  | 10 |
| 24 | Filter Pump |  | Glass & Metallic | 10+2 dia. Neoprine tube |
| 25 | Rubber Tubings |  | Thick for filtration device |  |
| 26 | Rubber Tubings |  | Thin |  |
| 27 | Evaporating Dish |  | China Clay | 20 |
| 28 | Crucibles | 50 ml | Silica & China Clay with respective covers | 5 |
|  |  | 100 ml |  | 5 |
| 29 | Funnels | 10 cm diam | Plastic (Tarson make) | 5 |
|  |  | 20 cm diam |  | 5 |
| 30 | Beakers with spoute | 250 ml | Plastic (Tarson make) | 5 |
|  |  | 500 ml |  | 5 |
|  |  | 1000 ml |  | 5 |
| 31 | Glass Tubes |  | different bore size |  |
| 32 | Glass Rods |  |  |  |
| 33 | Glass Cutter |  |  |  |
| 34 | Files |  |  | 3 |
| 35 | A- Measuring Cylinders | 5 ml | I - Glass A & B Class | 2 |
|  |  | 10 ml | II - Plastic (Tarson make) | 10 |
|  |  | 20 ml |  | 10 |
|  |  | 50 ml |  | 10 |
|  |  | 100 ml |  | 10 |
|  |  | 500 ml |  | 2 (Plastic) |
|  |  | 1000 ml |  | 1 (Plastic) |
|  | B- Desiccator with lid | 20 cm diam | normal & vaccum | 10 |
|  |  | 50 cm diam |  | 10 |
| 36 | Melting point Tubes |  | capillary tubes | One Pack |
| 37 | Mortar & Pestle | 10 cm diam | China Clay | 10 |
|  |  | 20 cm diam |  | 2 |
| 38 | Mortar & Pestle | 10 cm diam | Agat | 2 |
|  |  | 20 cm diam |  | 2 |
| 39 | Pipette (Bulb) |  | Rubber bulbs for pipetting purpose |  |
| 40 | Petri dish | 10 cm diam | glass | 20 |
|  |  | 20 cm diam |  | 20 |
| 41 | Pneumatic trough | 40 to 50 cm diam | China Clay and glass | 2+2 |
| 42 | Round Battorn Flask | 100 ml | 1 necked | 10 |
|  |  | 500 ml | 1 necked | 10 |
|  |  | 1000 ml | 1 necked | 2 |
|  |  | 100 ml | 2 necked | 5 |
|  |  | 250 ml | 2 necked | 5 |
|  |  | 500 ml | 2 necked | 2 |
|  |  | 1000 ml | 2 necked | 1 |
|  |  | 100 ml | 3 necked | 4 |
|  |  | 250 ml | 3 necked | 4 |
|  |  | 500 ml | 3 necked | 2 |
|  |  | 1000 ml | 3 necked | 1 |
|  | Filter Paper Sheet Whatman Filter Paper |  |  | 40 pore 41 pore 42 pore |
| 43 | Reagent bottles with stopper | 100 ml | With and without stand joints with | W 10 30 |
|  |  | 250 ml | ground glass stopper | W 10 20 |
|  |  | 500 ml |  | W 10 10 |
|  |  | 1000 ml |  | W 10 5 |
| 44 | Measuring flasks | 10 ml | (Glass) A class & B class | 5 |
|  |  | 25 ml |  | 20 |
|  |  | 50 ml |  | 20 |
|  |  | 100 ml |  | 20 |
|  |  | 250 ml |  | 20 |
|  |  | 500 ml |  | 20 |
|  |  | 1000 ml |  | 10 |
| 45 | Separating funnel (Glass) | 100 ml | With stopper (Glass) | 5 |
|  |  | 150 ml |  | 5 |
|  |  | 250 ml |  | 10 |
|  |  | 500 ml |  | 10 |
| 46 | Spatula | Small & Big Size | nickel & horn | 2 doz each |
| 47 | Test Tubes | 15 ml to 25 ml capacity | Standard size with and without ground glass stopper | 3 gross |
| 48 | A- Test Tubes Stand |  | Plastic and wooden | 15 |
|  | B- Test Tube Holders |  | Wooden handle metallic clamp | 15 |
| 49 | TLC Plates or slides |  |  | 50 |
| 50 | TLC Chamber |  |  | 10 |
| 51 | Plastic tubing and india rubber tubing |  |  |  |
| 52 | Charcoal blocks |  | For dry test of radicals |  |
| 53 | Kipp's apparatus | 21/2 litre capacity | for storage of standard ----- | 1 glass + 1 polythene |
| 54 | Test Tube Brush |  |  | 20 |
| 55 | Cleaning Brush for burette |  |  | 20 |
| 56 | Copper foil | Sheet |  |  |
| 57 | Storage bottles | 2Litre 5 Liter 10 Litre | Glass with standard joints/ground glass joints |  |
| 58 | Cu turning |  |  | One Pack |
|  | Note - All glass apparatus of borosilicate glass burette, pipettes, storage reagent bottles stand measuring flasks should be Bronosil-R/Pyrex |  |  |  |